ONE CALL LOCATING SERVICE

If you need to do any searching, digging, or major excavations on your property, it is advised that you call and request that all the utilities on your property be located.  This is a free service to homeowners.  The number is 1 800 424 5555.

The operator will ask some questions; address, type of work, and what you would like marked.  Marking instructions for locating backflow devices could be covered by saying “Locate front of property from street to house”.  This will encompass any digging you may need to do.

This service is to be completed within 48 hrs, but they generally need more time.  If you plan to work on a Saturday, you probably would want to call early in the week.  When the lines are marked, you will see various colors.

RED-POWER LINES

ORANGE-TELEPHONE AND CABLE T.V.

YELLOW-GAS

GREEN-STORM LINES AND SEWER

BLUE-WATER (Water department only marks to the meter).  This is because we don’t                                                                              own the line from the meter to the house and have no record of it.  Be careful digging around the back of your meter.  Don’t break your own water line!!